## Winkler
Date: | 2018-07-24 |  | Station nr: | 1-7 | Standard N: | KH(IO3)2 | 0.01 | Pipette Vol.: | 10 | Other remarks:
Vessel: | DFN |  |  |  |  | T1 | T2 |  |  | Last calibration: |  | 1996(REP)
Analyst: | DGC & ASCA Students |  |  |  | Blank 1: | 0.205 | 0.203 | Titrering 1: | 2.001 | Form vers.: |  | june 2004(FRR)
Titration equip: | 775 Dosimat |  |  |  | Blank 2: | 0.2 | 0.202 | Titrering 2: | 1.999
Comments |  |  |  |  | Blank 3: | 0.209 | 0.204 | Titrering 3: | 2.002
[5 empty] | Blank average: |  | 0.0016667 | Titr. snitt: | 2.0007
[7 empty] | Thiosulfat: | 0.050025 | N
Box #14 | Flask vol. | t°C | Flask vol. | Thiosulfat | St.nr. | CTD flask | Depth (pressure) | Salinity | Pot.temp. | Water density | Oxygen | Oxygen | Comments
Flask nr. | at/20° C | analysis | at in situ temp. | ml |  | nr. | [db] | PSU | °C | gr*cm-3 | ml*l-1 | µmol*kg-1
222 | 116.043 | 25.1 | 116.0325 | 1.731 | 2 | 1 | 80.858 | 34.954 | 10.9139 | 1.0268 | 4.232 | 184.0749
220 | 115.912 | 24.9 | 115.9079 | 1.727 | 2 | 6 | 31.754 | 35.3373 | 16.4808 | 1.0259 | 4.2268 | 184.0024
642 | 118.565 | 25.2 | 118.55 | 1.738 | 3 | 1 | 297.43 | 34.6282 | 7.3801 | 1.0271 | 4.1574 | 180.7746
225 | 117.832 | 25.1 | 117.8229 | 1.93 | 3 | 4 | 149.243 | 35.1193 | 12.2956 | 1.0266 | 4.6477 | 202.1832
226 | 117.25 | 25 | 117.2431 | 1.723 | 3 | 5 | 100.063 | 35.2805 | 14.145 | 1.0264 | 4.1681 | 181.363
227 | 116.015 | 25.3 | 115.9992 | 1.608 | 4 | 1 | 547.912 | 34.5725 | 6.3709 | 1.0272 | 3.9311 | 170.9178
228 | 117.119 | 25.2 | 117.1114 | 2.009 | 4 | 5 | 151.039 | 35.2845 | 13.4833 | 1.0265 | 4.8686 | 211.8162
229 | 115.955 | 25.1 | 115.9517 | 1.559 | 4 | 7 | 58.659 | 35.4764 | 17.136 | 1.0258 | 3.8123 | 165.9664
343 | 118.105 | 25 | 118.0868 | 1.479 | 5 | 1 | 1000.215 | 34.5465 | 4.6237 | 1.0274 | 3.5492 | 154.2851 |  | Plot offset oxygen
230 | 117.16 | 24.8 | 117.1434 | 1.643 | 5 | 2 | 750.687 | 34.5336 | 5.8055 | 1.0272 | 3.9771 | 172.9134 |  | St nr. | CTD flask # | Depth | Oxy sensor | Oxy titration | Diff OSensor-OTitration
231 | 116.961 | 25 | 116.9476 | 1.706 | 5 | 3 | 500.176 | 34.7076 | 8.5787 | 1.027 | 4.1374 | 179.9251 |  | 2 | 1 | 80.858 | 4.2515 | 4.232 | 0.019515
232 | 117.044 | 25.2 | 117.0404 | 2.051 | 5 | 7 | 99.848 | 35.5884 | 16.9172 | 1.026 | 4.9739 | 216.5065 |  | 2 | 6 | 31.754 | 4.2141 | 4.2268 | -0.012668
258 | 117.308 | 25.3 | 117.2922 | 1.643 | 6 | 2 | 750.239 | 34.5753 | 6.5173 | 1.0271 | 3.972 | 172.7001 |  | 3 | 1 | 297.43 | 4.1852 | 4.1574 | 0.02781
249 | 117.047 | 25.1 | 117.035 | N/A | 6 | 3 | 499.566 | 34.8006 | 9.7115 | 1.0268 | #VALUE! | #VALUE! | Sample stayed cloudy. Maybe a Winkler reagent not added? No purple when starch added | 3 | 4 | 149.243 | 4.677 | 4.6477 | 0.029337
257 | 116.044 | 25 | 116.0355 | 1.811 | 6 | 4 | 299.427 | 35.1578 | 12.6894 | 1.0266 | 4.4283 | 192.6486 |  | 3 | 5 | 100.063 | 4.1214 | 4.1681 | -0.046697
342 | 118.015 | 25 | 118.0131 | N/A | 6 | 8 | 58.901 | 35.5159 | 18.3897 | 1.0256 | #VALUE! | #VALUE! | Sample also stayed cloudy | 4 | 1 | 547.912 | 3.9479 | 3.9311 | 0.01682
344 | 118.145 | 25.1 | 118.1299 | 1.647 | 7 | 2 | 752.666 | 34.6145 | 7.2204 | 1.0271 | 3.953 | 171.8847 |  | 4 | 5 | 151.039 | 4.8597 | 4.8686 | -0.0089014
345 | 116.46 | 25.3 | 116.4527 | 1.955 | 7 | 4 | 297.976 | 35.317 | 13.7077 | 1.0265 | 4.7645 | 207.2912 |  | 4 | 7 | 58.659 | 4.0176 | 3.8123 | 0.20528
348 | 117.804 | 25.2 | 117.8026 | 1.99 | 7 | 8 | 62.67 | 35.5866 | 18.7719 | 1.0255 | 4.7936 | 208.7536 |  | 5 | 1 | 1000.215 | 3.6589 | 3.5492 | 0.10971
[14 empty] | 5 | 2 | 750.687 | 3.9105 | 3.9771 | -0.06666
[14 empty] | 5 | 3 | 500.176 | 4.0914 | 4.1374 | -0.045975
[14 empty] | 5 | 7 | 99.848 | 5.0683 | 4.9739 | 0.094445
[14 empty] | 6 | 2 | 750.239 | 3.9855 | 3.972 | 0.013523
[14 empty] | 6 | 3 | 499.566 | 4.5222
[14 empty] | 6 | 4 | 299.427 | 4.4949 | 4.4283 | 0.06661
[14 empty] | 6 | 8 | 58.901 | 4.182
[14 empty] | 7 | 2 | 752.666 | 3.9171 | 3.953 | -0.0359
[14 empty] | 7 | 4 | 297.976 | 4.8694 | 4.7645 | 0.10487
[14 empty] | 7 | 8 | 62.67 | 4.8862 | 4.7936 | 0.092565
Yellow cells | Input cells/cells where information should be introduced |  |  | Blue cells | Color of cells where there are formulas/values calculated |  |  | Green cells | Color of cells where the values are copied from Pot._temp sheet |  |  | Orange cells | Color of cells where the values are copied from the *.btl/CTD files
Note on B14: Calibrated volumes; measured on the lab/on land
Note on D14: Calibrated volumes; measured on the lab/on land
Note on E14: Input value; Fill this column with the thiosulfat volum used for the tritration
Note on F14: Input value; Fill this column with the station number
Note on H14: copy values from *.btl file/Pot_temp tab
Note on I14: copy values from *.btl file/Pot_temp tab
Note on J14: copy values from Pot_temp
Note on S25: Same ad G14/15
Note on T25: Copied from Column H, cell 16 to 28
Note on U25: Value copied from the CTD *.BTL file
Note on V25: value copied from the column L, cells 16 to 28

## Pot._temp
|  | temperature | Salinity | Pressure | Pot.temp.
|  | °C | PSU | dbars
|  | 6.0081 | 35.173 | 501 | 5.9638
|  | 6.5622 | 34.0747 | 41.369 | 6.5586
Kontrollverdi: pot.temp=8.4678516 ved t=10°C;S=25 og p=10000 dbars
Bryden, H.L. (1973) New polynomials for thermal expansion, adiabatic temperature gradient and potential temperature gradient
of seawater. Deep-Sea Res. 20, 401-408.
St.nr. | CTD flask | pressure | salinity | temperature |  | pottemp
| nr. |  |  |  |  | 0
2 | 1 | 80.858 | 34.954 | 10.9238 |  | 10.9139
2 | 6 | 31.754 | 35.3373 | 16.4859 |  | 16.4808
3 | 1 | 297.43 | 34.6282 | 7.4089 |  | 7.3801
3 | 4 | 149.243 | 35.1193 | 12.3154 |  | 12.2956
3 | 5 | 100.063 | 35.2805 | 14.1596 |  | 14.145
4 | 1 | 547.912 | 34.5725 | 6.4207 |  | 6.3709
4 | 5 | 151.039 | 35.2845 | 13.5046 |  | 13.4833
4 | 7 | 58.659 | 35.4764 | 17.1457 |  | 17.136
5 | 1 | 1000.215 | 34.5465 | 4.7049 |  | 4.6237
5 | 2 | 750.687 | 34.5336 | 5.8717 |  | 5.8055
5 | 3 | 500.176 | 34.7076 | 8.6324 |  | 8.5787
5 | 7 | 99.848 | 35.5884 | 16.9337 |  | 16.9172
6 | 2 | 750.239 | 34.5753 | 6.5875 |  | 6.5173
6 | 3 | 499.566 | 34.8006 | 9.7693 |  | 9.7115
6 | 4 | 299.427 | 35.1578 | 12.7302 |  | 12.6894
6 | 8 | 58.901 | 35.5159 | 18.4 |  | 18.3897
7 | 2 | 752.666 | 34.6145 | 7.2948 |  | 7.2204
7 | 4 | 297.976 | 35.317 | 13.7505 |  | 13.7077
7 | 8 | 62.67 | 35.5866 | 18.783 |  | 18.7719
|  | 10000 | 25 | 10 |  | 8.4679
Note on C16: Bernardes Ines Dias: Add the pressure values from the *.btl file from the CTD
Note on D16: Bernardes Ines Dias: Add the salinity values from the *.btl file from the CTD
Note on E16: Bernardes Ines Dias: Add the temperature values from the *.btl file from the CTD
Note on G16: Bernardes Ines Dias: Copy the values to the 201X4XX_DFN_oxygen_St_xxx-xxx.xlsx
Note on G37: Bernardes Ines Dias: Reference formula

## Sta2
* Sea-Bird SBE 9 Data File:
* FileName = C:\Seabird\CTDData\sta0002.hex
* Software Version Seasave V 7.21f
* Temperature SN = 4537
* Conductivity SN = 2037
* Number of Bytes Per Scan = 37
* Number of Voltage Words = 4
* Number of Scans Averaged by the Deck Unit = 1
* System UpLoad Time = Jan 22 2018 08:28:59
* NMEA Latitude = 33 28.09 S
* NMEA Longitude = 027 32.38 E
* NMEA UTC (Time) = Jan 22 2018 08:28:58
* Store Lat/Lon Data = Append to Every Scan
* SBE 11plus V 5.2
* number of scans to average = 1
* pressure baud rate = 9600
* NMEA baud rate = 4800
* GPIB address = 1
* advance primary conductivity 0.073 seconds
* advance secondary conductivity 0.073 seconds
* autorun on power up is disabled
* S>
** Ship: 14 R/V "Dr. Fridtjof Nansen"
** Station: 0002
** Echodepth: 93
** Log: 2036.590
** Wind-Dir Force: 06 14
** Air-temp (dry): 20
** Weather Sky: 2 5
** Sea: 4
* System UTC = Jan 22 2018 08:28:59
# interval = seconds: 0.0416667
# start_time = Jan 22 2018 08:28:59 [System UTC, header]
# <Sensors count="13" >
# <sensor Channel="1" >
# <!-- Frequency 0, Temperature -->
# <TemperatureSensor SensorID="55" >
# <SerialNumber>4537</SerialNumber>
# <CalibrationDate>28-Oct-16</CalibrationDate>
# <UseG_J>1</UseG_J>
# <A>0.00000000e+000</A>
# <B>0.00000000e+000</B>
# <C>0.00000000e+000</C>
# <D>0.00000000e+000</D>
# <F0_Old>0.000</F0_Old>
# <G>4.40508655e-003</G>
# <H>6.38847300e-004</H>
# <I>2.16832460e-005</I>
# <J>1.91602152e-006</J>
# <F0>1000.000</F0>
# <Slope>1.00000000</Slope>
# <Offset>0.0000</Offset>
# </TemperatureSensor>
# </sensor>
# <sensor Channel="2" >
# <!-- Frequency 1, Conductivity -->
# <ConductivitySensor SensorID="3" >
# <SerialNumber>2037</SerialNumber>
# <CalibrationDate>25-Oct-16</CalibrationDate>
# <UseG_J>1</UseG_J>
# <!-- Cell const and series R are applicable only for wide range sensors. -->
# <SeriesR>0.0000</SeriesR>
# <CellConst>2000.0000</CellConst>
# <ConductivityType>0</ConductivityType>
# <Coefficients equation="0" >
# <A>0.00000000e+000</A>
# <B>0.00000000e+000</B>
# <C>0.00000000e+000</C>
# <D>0.00000000e+000</D>
# <M>0.0</M>
# <CPcor>-9.57000000e-008</CPcor>
# </Coefficients>
# <Coefficients equation="1" >
# <G>-9.76816339e+000</G>
# <H>1.36657027e+000</H>
# <I>-4.74939569e-003</I>
# <J>5.39425313e-004</J>
# <CPcor>-9.57000000e-008</CPcor>
# <CTcor>3.2500e-006</CTcor>
# <!-- WBOTC not applicable unless ConductivityType = 1. -->
# <WBOTC>0.00000000e+000</WBOTC>
# </Coefficients>
# <Slope>1.00000000</Slope>
# <Offset>0.00000</Offset>
# </ConductivitySensor>
# </sensor>
# <sensor Channel="3" >
# <!-- Frequency 2, Pressure, Digiquartz with TC -->
# <PressureSensor SensorID="45" >
# <SerialNumber>09P75372-1160</SerialNumber>
# <CalibrationDate>2013-07-21</CalibrationDate>
# <C1>-4.211844e+004</C1>
# <C2>-4.177706e-001</C2>
# <C3>1.227500e-002</C3>
# <D1>3.461900e-002</D1>
# <D2>0.000000e+000</D2>
# <T1>3.000530e+001</T1>
# <T2>-4.071315e-004</T2>
# <T3>3.795600e-006</T3>
# <T4>3.355640e-009</T4>
# <Slope>1.00000000</Slope>
# <Offset>0.00000</Offset>
# <T5>0.000000e+000</T5>
# <AD590M>1.278400e-002</AD590M>
# <AD590B>-9.459390e+000</AD590B>
# </PressureSensor>
# </sensor>
# <sensor Channel="4" >
# <!-- Frequency 3, Temperature, 2 -->
# <TemperatureSensor SensorID="55" >
# <SerialNumber>1602</SerialNumber>
# <CalibrationDate>27-Oct-16</CalibrationDate>
# <UseG_J>1</UseG_J>
# <A>0.00000000e+000</A>
# <B>0.00000000e+000</B>
# <C>0.00000000e+000</C>
# <D>0.00000000e+000</D>
# <F0_Old>0.000</F0_Old>
# <G>4.88861236e-003</G>
# <H>6.83086718e-004</H>
# <I>2.85232996e-005</I>
# <J>2.36111404e-006</J>
# <F0>1000.000</F0>
# <Slope>1.00000000</Slope>
# <Offset>0.0000</Offset>
# </TemperatureSensor>
# </sensor>
# <sensor Channel="5" >
# <!-- Frequency 4, Conductivity, 2 -->
# <ConductivitySensor SensorID="3" >
# <SerialNumber>3123</SerialNumber>
# <CalibrationDate>27-apr-17</CalibrationDate>
# <UseG_J>1</UseG_J>
# <!-- Cell const and series R are applicable only for wide range sensors. -->
# <SeriesR>0.0000</SeriesR>
# <CellConst>2000.0000</CellConst>
# <ConductivityType>0</ConductivityType>
# <Coefficients equation="0" >
# <A>0.00000000e+000</A>
# <B>0.00000000e+000</B>
# <C>0.00000000e+000</C>
# <D>0.00000000e+000</D>
# <M>0.0</M>
# <CPcor>-9.57000000e-008</CPcor>
# </Coefficients>
# <Coefficients equation="1" >
# <G>-1.04041238e+001</G>
# <H>1.28819698e+000</H>
# <I>3.34030275e-004</I>
# <J>2.70913781e-005</J>
# <CPcor>-9.57000000e-008</CPcor>
# <CTcor>3.2500e-006</CTcor>
# <!-- WBOTC not applicable unless ConductivityType = 1. -->
# <WBOTC>0.00000000e+000</WBOTC>
# </Coefficients>
# <Slope>1.00000000</Slope>
# <Offset>0.00000</Offset>
# </ConductivitySensor>
# </sensor>
# <sensor Channel="6" >
# <!-- A/D voltage 0, Altimeter -->
# <AltimeterSensor SensorID="0" >
# <SerialNumber>1186</SerialNumber>
# <CalibrationDate>Aug.2005</CalibrationDate>
# <ScaleFactor>15.000</ScaleFactor>
# <Offset>0.000</Offset>
# </AltimeterSensor>
# </sensor>
# <sensor Channel="7" >
# <!-- A/D voltage 1, Oxygen, SBE 43 -->
# <OxygenSensor SensorID="38" >
# <SerialNumber>2525</SerialNumber>
# <CalibrationDate>08-Apr-17</CalibrationDate>
# <Use2007Equation>1</Use2007Equation>
# <CalibrationCoefficients equation="0" >
# <!-- Coefficients for Owens-Millard equation. -->
# <Boc>0.0000</Boc>
# <Soc>0.0000e+000</Soc>
# <offset>0.0000</offset>
# <Pcor>0.00e+000</Pcor>
# <Tcor>0.0000</Tcor>
# <Tau>0.0</Tau>
# </CalibrationCoefficients>
# <CalibrationCoefficients equation="1" >
# <!-- Coefficients for Sea-Bird equation - SBE calibration in 2007 and later. -->
# <Soc>5.4480e-001</Soc>
# <offset>-0.4962</offset>
# <A>-3.7527e-003</A>
# <B> 1.8015e-004</B>
# <C>-2.6953e-006</C>
# <D0> 2.5826e+000</D0>
# <D1> 1.92634e-004</D1>
# <D2>-4.64803e-002</D2>
# <E> 3.6000e-002</E>
# <Tau20> 1.4600</Tau20>
# <H1>-3.3000e-002</H1>
# <H2> 5.0000e+003</H2>
# <H3> 1.4500e+003</H3>
# </CalibrationCoefficients>
# </OxygenSensor>
# </sensor>
# <sensor Channel="8" >
# <!-- A/D voltage 2, Fluorometer, Chelsea Aqua 3 -->
# <FluoroChelseaAqua3Sensor SensorID="5" >
# <SerialNumber>088-252</SerialNumber>
# <CalibrationDate>13.08.2013</CalibrationDate>
# <VB>0.335700</VB>
# <V1>2.123000</V1>
# <Vacetone>0.427000</Vacetone>
# <ScaleFactor>1.000000</ScaleFactor>
# <Slope>1.000000</Slope>
# <Offset>0.000000</Offset>
# </FluoroChelseaAqua3Sensor>
# </sensor>
# <sensor Channel="9" >
# <!-- A/D voltage 3, Free -->
# </sensor>
# <sensor Channel="10" >
# <!-- A/D voltage 4, Free -->
# </sensor>
# <sensor Channel="11" >
# <!-- A/D voltage 5, Free -->
# </sensor>
# <sensor Channel="12" >
# <!-- A/D voltage 6, PAR/Irradiance, Biospherical/Licor -->
# <PAR_BiosphericalLicorChelseaSensor SensorID="42" >
# <SerialNumber>1039</SerialNumber>
# <CalibrationDate>2015-11-04</CalibrationDate>
# <M>0.80294800</M>
# <B>1.04712600</B>
# <CalibrationConstant>735889322.24593425</CalibrationConstant>
# <Multiplier>1.00000000</Multiplier>
# <Offset>0.00000000</Offset>
# </PAR_BiosphericalLicorChelseaSensor>
# </sensor>
# <sensor Channel="13" >
# <!-- A/D voltage 7, Free -->
# </sensor>
# </Sensors>
# datcnv_date = Jan 22 2018 08:35:02, 7.21f
# datcnv_in = C:\Seabird\CTDData\sta0002.hex C:\Seabird\SBEDataProcessing-Win32\Seasoft.con
# datcnv_ox_hysteresis_correction = yes
# datcnv_bottle_scan_range_source = scans marked with bottle confirm bit, 0, 2
# datcnv_scans_per_bottle = 49
# bottlesum_date = Jan 22 2018 08:35:03, 7.21f
# bottlesum_in = C:\Seabird\CTDData\sta0002.ros C:\Seabird\SBEDataProcessing-Win32\Seasoft.CON C:\Seabird\CTDData\sta0002.BL
# bottlesum_ox_tau_correction = yes
Bottle | Date | Sal00 | Sbeox0ML/L | Sigma-È00 | PrDM | T068C | C0S/m | Sbeox0V | FlC
Position | Time
1 | Jan 22 2018 | 34.954 | 4.2515 | 26.7558 | 80.858 | 10.9238 | 3.8956 | 1.7731 | 0.06 | (avg)
| 8:30:58 |  |  |  | 0.387 | 0.01 | 0.000934 | 0.0004 | 0.0253 | (sdev)
2 | Jan 22 2018 | 34.9532 | 4.2708 | 26.7584 | 81.351 | 10.906 | 3.8938 | 1.7741 | 0.0365 | (avg)
| 8:31:01 |  |  |  | 0.426 | 0.0015 | 0.000144 | 0.0013 | 0.003 | (sdev)
3 | Jan 22 2018 | 35.1566 | 4.1739 | 26.2587 | 59.066 | 14.2454 | 4.2369 | 1.8374 | 0.3127 | (avg)
| 8:31:47 |  |  |  | 0.281 | 0.1898 | 0.019655 | 0.0032 | 0.0146 | (sdev)
4 | Jan 22 2018 | 35.3041 | 4.2002 | 25.9246 | 56.381 | 16.2603 | 4.4526 | 1.8991 | 0.4777 | (avg)
| 8:32:12 |  |  |  | 0.227 | 0.0559 | 0.005885 | 0.0047 | 0.0601 | (sdev)
5 | Jan 22 2018 | 35.3332 | 4.256 | 25.9052 | 40.471 | 16.4376 | 4.4729 | 1.9407 | 0.5957 | (avg)
| 8:32:39 |  |  |  | 0.355 | 0.0018 | 0.000193 | 0.0013 | 0.0204 | (sdev)
6 | Jan 22 2018 | 35.3373 | 4.2141 | 25.8967 | 31.754 | 16.4859 | 4.4778 | 1.9326 | 0.6121 | (avg)
| 8:33:06 |  |  |  | 0.095 | 0.0011 | 9.9e-05 | 0.0016 | 0.0334 | (sdev)
7 | Jan 22 2018 | 35.3375 | 4.2221 | 25.8975 | 31.25 | 16.4831 | 4.4776 | 1.9323 | 0.5443 | (avg)
| 8:33:10 |  |  |  | 0.16 | 0.0002 | 3e-05 | 0.0011 | 0.042 | (sdev)
8 | Jan 22 2018 | 35.3424 | 4.3614 | 25.7882 | 22.216 | 16.9613 | 4.5257 | 1.9901 | 1.1259 | (avg)
| 8:33:30 |  |  |  | 0.334 | 0.0229 | 0.002094 | 0.0015 | 0.0428 | (sdev)
9 | Jan 22 2018 | 35.3478 | 4.5133 | 25.727 | 12.53 | 17.233 | 4.5532 | 2.0511 | 1.5257 | (avg)
| 8:33:51 |  |  |  | 0.49 | 0.0113 | 0.00107 | 0.0021 | 0.0289 | (sdev)
10 | Jan 22 2018 | 35.3501 | 4.6141 | 25.706 | 2.584 | 17.3258 | 4.5624 | 2.0974 | 1.8027 | (avg)
| 8:34:14 |  |  |  | 0.105 | 0.0006 | 8.1e-05 | 0.0009 | 0.0512 | (sdev)
11 | Jan 22 2018 | 35.3503 | 4.6423 | 25.706 | 3.498 | 17.3265 | 4.5625 | 2.1014 | 1.7223 | (avg)
| 8:34:17 |  |  |  | 0.279 | 0.0017 | 0.000173 | 0.0016 | 0.0985 | (sdev)

## Sta3
* Sea-Bird SBE 9 Data File:
* FileName = C:\Seabird\CTDData\sta0003.hex
* Software Version Seasave V 7.21f
* Temperature SN = 4537
* Conductivity SN = 2037
* Number of Bytes Per Scan = 37
* Number of Voltage Words = 4
* Number of Scans Averaged by the Deck Unit = 1
* System UpLoad Time = Jan 22 2018 10:14:23
* NMEA Latitude = 33 34.17 S
* NMEA Longitude = 027 34.89 E
* NMEA UTC (Time) = Jan 22 2018 10:14:22
* Store Lat/Lon Data = Append to Every Scan
* SBE 11plus V 5.2
* number of scans to average = 1
* pressure baud rate = 9600
* NMEA baud rate = 4800
* GPIB address = 1
* advance primary conductivity 0.073 seconds
* advance secondary conductivity 0.073 seconds
* autorun on power up is disabled
* S>
** Ship: 14 R/V "Dr. Fridtjof Nansen"
** Station: 0003
** Echodepth: 311
** Log: 2043.87
** Wind-Dir Force: 05 19
** Air-temp (dry): 22
** Weather Sky: 2 8
** Sea: 4
* System UTC = Jan 22 2018 10:14:23
# interval = seconds: 0.0416667
# start_time = Jan 22 2018 10:14:23 [System UTC, header]
# <Sensors count="13" >
# <sensor Channel="1" >
# <!-- Frequency 0, Temperature -->
# <TemperatureSensor SensorID="55" >
# <SerialNumber>4537</SerialNumber>
# <CalibrationDate>28-Oct-16</CalibrationDate>
# <UseG_J>1</UseG_J>
# <A>0.00000000e+000</A>
# <B>0.00000000e+000</B>
# <C>0.00000000e+000</C>
# <D>0.00000000e+000</D>
# <F0_Old>0.000</F0_Old>
# <G>4.40508655e-003</G>
# <H>6.38847300e-004</H>
# <I>2.16832460e-005</I>
# <J>1.91602152e-006</J>
# <F0>1000.000</F0>
# <Slope>1.00000000</Slope>
# <Offset>0.0000</Offset>
# </TemperatureSensor>
# </sensor>
# <sensor Channel="2" >
# <!-- Frequency 1, Conductivity -->
# <ConductivitySensor SensorID="3" >
# <SerialNumber>2037</SerialNumber>
# <CalibrationDate>25-Oct-16</CalibrationDate>
# <UseG_J>1</UseG_J>
# <!-- Cell const and series R are applicable only for wide range sensors. -->
# <SeriesR>0.0000</SeriesR>
# <CellConst>2000.0000</CellConst>
# <ConductivityType>0</ConductivityType>
# <Coefficients equation="0" >
# <A>0.00000000e+000</A>
# <B>0.00000000e+000</B>
# <C>0.00000000e+000</C>
# <D>0.00000000e+000</D>
# <M>0.0</M>
# <CPcor>-9.57000000e-008</CPcor>
# </Coefficients>
# <Coefficients equation="1" >
# <G>-9.76816339e+000</G>
# <H>1.36657027e+000</H>
# <I>-4.74939569e-003</I>
# <J>5.39425313e-004</J>
# <CPcor>-9.57000000e-008</CPcor>
# <CTcor>3.2500e-006</CTcor>
# <!-- WBOTC not applicable unless ConductivityType = 1. -->
# <WBOTC>0.00000000e+000</WBOTC>
# </Coefficients>
# <Slope>1.00000000</Slope>
# <Offset>0.00000</Offset>
# </ConductivitySensor>
# </sensor>
# <sensor Channel="3" >
# <!-- Frequency 2, Pressure, Digiquartz with TC -->
# <PressureSensor SensorID="45" >
# <SerialNumber>09P75372-1160</SerialNumber>
# <CalibrationDate>2013-07-21</CalibrationDate>
# <C1>-4.211844e+004</C1>
# <C2>-4.177706e-001</C2>
# <C3>1.227500e-002</C3>
# <D1>3.461900e-002</D1>
# <D2>0.000000e+000</D2>
# <T1>3.000530e+001</T1>
# <T2>-4.071315e-004</T2>
# <T3>3.795600e-006</T3>
# <T4>3.355640e-009</T4>
# <Slope>1.00000000</Slope>
# <Offset>0.00000</Offset>
# <T5>0.000000e+000</T5>
# <AD590M>1.278400e-002</AD590M>
# <AD590B>-9.459390e+000</AD590B>
# </PressureSensor>
# </sensor>
# <sensor Channel="4" >
# <!-- Frequency 3, Temperature, 2 -->
# <TemperatureSensor SensorID="55" >
# <SerialNumber>1602</SerialNumber>
# <CalibrationDate>27-Oct-16</CalibrationDate>
# <UseG_J>1</UseG_J>
# <A>0.00000000e+000</A>
# <B>0.00000000e+000</B>
# <C>0.00000000e+000</C>
# <D>0.00000000e+000</D>
# <F0_Old>0.000</F0_Old>
# <G>4.88861236e-003</G>
# <H>6.83086718e-004</H>
# <I>2.85232996e-005</I>
# <J>2.36111404e-006</J>
# <F0>1000.000</F0>
# <Slope>1.00000000</Slope>
# <Offset>0.0000</Offset>
# </TemperatureSensor>
# </sensor>
# <sensor Channel="5" >
# <!-- Frequency 4, Conductivity, 2 -->
# <ConductivitySensor SensorID="3" >
# <SerialNumber>3123</SerialNumber>
# <CalibrationDate>27-apr-17</CalibrationDate>
# <UseG_J>1</UseG_J>
# <!-- Cell const and series R are applicable only for wide range sensors. -->
# <SeriesR>0.0000</SeriesR>
# <CellConst>2000.0000</CellConst>
# <ConductivityType>0</ConductivityType>
# <Coefficients equation="0" >
# <A>0.00000000e+000</A>
# <B>0.00000000e+000</B>
# <C>0.00000000e+000</C>
# <D>0.00000000e+000</D>
# <M>0.0</M>
# <CPcor>-9.57000000e-008</CPcor>
# </Coefficients>
# <Coefficients equation="1" >
# <G>-1.04041238e+001</G>
# <H>1.28819698e+000</H>
# <I>3.34030275e-004</I>
# <J>2.70913781e-005</J>
# <CPcor>-9.57000000e-008</CPcor>
# <CTcor>3.2500e-006</CTcor>
# <!-- WBOTC not applicable unless ConductivityType = 1. -->
# <WBOTC>0.00000000e+000</WBOTC>
# </Coefficients>
# <Slope>1.00000000</Slope>
# <Offset>0.00000</Offset>
# </ConductivitySensor>
# </sensor>
# <sensor Channel="6" >
# <!-- A/D voltage 0, Altimeter -->
# <AltimeterSensor SensorID="0" >
# <SerialNumber>1186</SerialNumber>
# <CalibrationDate>Aug.2005</CalibrationDate>
# <ScaleFactor>15.000</ScaleFactor>
# <Offset>0.000</Offset>
# </AltimeterSensor>
# </sensor>
# <sensor Channel="7" >
# <!-- A/D voltage 1, Oxygen, SBE 43 -->
# <OxygenSensor SensorID="38" >
# <SerialNumber>2525</SerialNumber>
# <CalibrationDate>08-Apr-17</CalibrationDate>
# <Use2007Equation>1</Use2007Equation>
# <CalibrationCoefficients equation="0" >
# <!-- Coefficients for Owens-Millard equation. -->
# <Boc>0.0000</Boc>
# <Soc>0.0000e+000</Soc>
# <offset>0.0000</offset>
# <Pcor>0.00e+000</Pcor>
# <Tcor>0.0000</Tcor>
# <Tau>0.0</Tau>
# </CalibrationCoefficients>
# <CalibrationCoefficients equation="1" >
# <!-- Coefficients for Sea-Bird equation - SBE calibration in 2007 and later. -->
# <Soc>5.4480e-001</Soc>
# <offset>-0.4962</offset>
# <A>-3.7527e-003</A>
# <B> 1.8015e-004</B>
# <C>-2.6953e-006</C>
# <D0> 2.5826e+000</D0>
# <D1> 1.92634e-004</D1>
# <D2>-4.64803e-002</D2>
# <E> 3.6000e-002</E>
# <Tau20> 1.4600</Tau20>
# <H1>-3.3000e-002</H1>
# <H2> 5.0000e+003</H2>
# <H3> 1.4500e+003</H3>
# </CalibrationCoefficients>
# </OxygenSensor>
# </sensor>
# <sensor Channel="8" >
# <!-- A/D voltage 2, Fluorometer, Chelsea Aqua 3 -->
# <FluoroChelseaAqua3Sensor SensorID="5" >
# <SerialNumber>088-252</SerialNumber>
# <CalibrationDate>13.08.2013</CalibrationDate>
# <VB>0.335700</VB>
# <V1>2.123000</V1>
# <Vacetone>0.427000</Vacetone>
# <ScaleFactor>1.000000</ScaleFactor>
# <Slope>1.000000</Slope>
# <Offset>0.000000</Offset>
# </FluoroChelseaAqua3Sensor>
# </sensor>
# <sensor Channel="9" >
# <!-- A/D voltage 3, Free -->
# </sensor>
# <sensor Channel="10" >
# <!-- A/D voltage 4, Free -->
# </sensor>
# <sensor Channel="11" >
# <!-- A/D voltage 5, Free -->
# </sensor>
# <sensor Channel="12" >
# <!-- A/D voltage 6, PAR/Irradiance, Biospherical/Licor -->
# <PAR_BiosphericalLicorChelseaSensor SensorID="42" >
# <SerialNumber>1039</SerialNumber>
# <CalibrationDate>2015-11-04</CalibrationDate>
# <M>0.80294800</M>
# <B>1.04712600</B>
# <CalibrationConstant>735889322.24593425</CalibrationConstant>
# <Multiplier>1.00000000</Multiplier>
# <Offset>0.00000000</Offset>
# </PAR_BiosphericalLicorChelseaSensor>
# </sensor>
# <sensor Channel="13" >
# <!-- A/D voltage 7, Free -->
# </sensor>
# </Sensors>
# datcnv_date = Jan 22 2018 10:39:44, 7.21f
# datcnv_in = C:\Seabird\CTDData\sta0003.hex C:\Seabird\SBEDataProcessing-Win32\Seasoft.con
# datcnv_ox_hysteresis_correction = yes
# datcnv_bottle_scan_range_source = scans marked with bottle confirm bit, 0, 2
# datcnv_scans_per_bottle = 49
# bottlesum_date = Jan 22 2018 10:39:47, 7.21f
# bottlesum_in = C:\Seabird\CTDData\sta0003.ros C:\Seabird\SBEDataProcessing-Win32\Seasoft.CON C:\Seabird\CTDData\sta0003.BL
# bottlesum_ox_tau_correction = yes
Bottle | Date | Sal00 | Sbeox0ML/L | Sigma-È00 | PrDM | T068C | C0S/m | Sbeox0V | FlC
Position | Time
1 | Jan 22 2018 | 34.6282 | 4.1852 | 27.0727 | 297.43 | 7.4089 | 3.5454 | 1.6212 | 0.0135 | (avg)
| 10:23:08 |  |  |  | 0.398 | 0.0063 | 0.000576 | 0.0011 | 0.001 | (sdev)
2 | Jan 22 2018 | 34.6282 | 4.1742 | 27.0732 | 297.764 | 7.4054 | 3.5451 | 1.6197 | 0.0132 | (avg)
| 10:23:11 |  |  |  | 0.51 | 0.0062 | 0.000584 | 0.0006 | 0.0015 | (sdev)
3 | Jan 22 2018 | 34.9105 | 4.5229 | 26.8124 | 200.235 | 10.4284 | 3.8496 | 1.8154 | 0.0165 | (avg)
| 10:25:57 |  |  |  | 0.395 | 0.0296 | 0.003101 | 0.001 | 0.0014 | (sdev)
4 | Jan 22 2018 | 35.1193 | 4.677 | 26.6254 | 149.243 | 12.3154 | 4.049 | 1.928 | 0.0111 | (avg)
| 10:27:23 |  |  |  | 0.827 | 0.0189 | 0.001974 | 0.0015 | 0.0009 | (sdev)
5 | Jan 22 2018 | 35.2805 | 4.1214 | 26.374 | 100.063 | 14.1596 | 4.2437 | 1.8201 | 0.0189 | (avg)
| 10:28:20 |  |  |  | 0.796 | 0.0518 | 0.005398 | 0.0008 | 0.0021 | (sdev)
6 | Jan 22 2018 | 35.3381 | 3.5031 | 26.0388 | 60.244 | 15.8778 | 4.4184 | 1.6683 | 0.0188 | (avg)
| 10:29:03 |  |  |  | 0.851 | 0.05 | 0.005279 | 0.0007 | 0.0006 | (sdev)
7 | Jan 22 2018 | 35.3849 | 3.5749 | 25.8362 | 44.108 | 16.9004 | 4.5254 | 1.729 | 0.0463 | (avg)
| 10:30:03 |  |  |  | 0.264 | 0.0322 | 0.002642 | 0.0034 | 0.0021 | (sdev)
8 | Jan 22 2018 | 35.3306 | 3.3353 | 25.1784 | 21.306 | 19.3798 | 4.7692 | 1.6934 | 0.2708 | (avg)
| 10:30:49 |  |  |  | 0.174 | 0.0315 | 0.003252 | 0.0012 | 0.0062 | (sdev)
9 | Jan 22 2018 | 35.3325 | 3.3457 | 25.1653 | 20.409 | 19.4357 | 4.7751 | 1.6916 | 0.2487 | (avg)
| 10:30:52 |  |  |  | 0.26 | 0.0052 | 0.00058 | 0.0033 | 0.0031 | (sdev)
10 | Jan 22 2018 | 35.3781 | 4.4707 | 24.7802 | 9.108 | 21.0127 | 4.9419 | 2.0794 | 1.4165 | (avg)
| 10:31:21 |  |  |  | 0.429 | 0.0698 | 0.00724 | 0.0337 | 0.1754 | (sdev)
11 | Jan 22 2018 | 35.4028 | 4.6184 | 24.6962 | 3.243 | 21.3864 | 4.9834 | 2.2201 | 1.4176 | (avg)
| 10:31:39 |  |  |  | 0.168 | 0.0014 | 0.00017 | 0.0008 | 0.0219 | (sdev)
12 | Jan 22 2018 | 35.4034 | 4.6146 | 24.6973 | 3.037 | 21.3844 | 4.9832 | 2.2216 | 1.4681 | (avg)
| 10:31:43 |  |  |  | 0.113 | 0.0012 | 0.000143 | 0.001 | 0.037 | (sdev)

## Sta4
* Sea-Bird SBE 9 Data File:
* FileName = C:\Seabird\CTDData\sta0004.hex
* Software Version Seasave V 7.21f
* Temperature SN = 4537
* Conductivity SN = 2037
* Number of Bytes Per Scan = 37
* Number of Voltage Words = 4
* Number of Scans Averaged by the Deck Unit = 1
* System UpLoad Time = Jan 22 2018 12:41:33
* NMEA Latitude = 33 36.07 S
* NMEA Longitude = 027 37.15 E
* NMEA UTC (Time) = Jan 22 2018 12:41:33
* Store Lat/Lon Data = Append to Every Scan
* SBE 11plus V 5.2
* number of scans to average = 1
* pressure baud rate = 9600
* NMEA baud rate = 4800
* GPIB address = 1
* advance primary conductivity 0.073 seconds
* advance secondary conductivity 0.073 seconds
* autorun on power up is disabled
* S>
** Ship: 14 R/V "Dr. Fridtjof Nansen"
** Station: 0004
** Echodepth: 633
** Log: 2055.35
** Wind-Dir Force: 05 16
** Air-temp (dry): 23
** Weather Sky: 2 8
** Sea: 4
* System UTC = Jan 22 2018 12:41:33
# interval = seconds: 0.0416667
# start_time = Jan 22 2018 12:41:33 [System UTC, header]
# <Sensors count="13" >
# <sensor Channel="1" >
# <!-- Frequency 0, Temperature -->
# <TemperatureSensor SensorID="55" >
# <SerialNumber>4537</SerialNumber>
# <CalibrationDate>28-Oct-16</CalibrationDate>
# <UseG_J>1</UseG_J>
# <A>0.00000000e+000</A>
# <B>0.00000000e+000</B>
# <C>0.00000000e+000</C>
# <D>0.00000000e+000</D>
# <F0_Old>0.000</F0_Old>
# <G>4.40508655e-003</G>
# <H>6.38847300e-004</H>
# <I>2.16832460e-005</I>
# <J>1.91602152e-006</J>
# <F0>1000.000</F0>
# <Slope>1.00000000</Slope>
# <Offset>0.0000</Offset>
# </TemperatureSensor>
# </sensor>
# <sensor Channel="2" >
# <!-- Frequency 1, Conductivity -->
# <ConductivitySensor SensorID="3" >
# <SerialNumber>2037</SerialNumber>
# <CalibrationDate>25-Oct-16</CalibrationDate>
# <UseG_J>1</UseG_J>
# <!-- Cell const and series R are applicable only for wide range sensors. -->
# <SeriesR>0.0000</SeriesR>
# <CellConst>2000.0000</CellConst>
# <ConductivityType>0</ConductivityType>
# <Coefficients equation="0" >
# <A>0.00000000e+000</A>
# <B>0.00000000e+000</B>
# <C>0.00000000e+000</C>
# <D>0.00000000e+000</D>
# <M>0.0</M>
# <CPcor>-9.57000000e-008</CPcor>
# </Coefficients>
# <Coefficients equation="1" >
# <G>-9.76816339e+000</G>
# <H>1.36657027e+000</H>
# <I>-4.74939569e-003</I>
# <J>5.39425313e-004</J>
# <CPcor>-9.57000000e-008</CPcor>
# <CTcor>3.2500e-006</CTcor>
# <!-- WBOTC not applicable unless ConductivityType = 1. -->
# <WBOTC>0.00000000e+000</WBOTC>
# </Coefficients>
# <Slope>1.00000000</Slope>
# <Offset>0.00000</Offset>
# </ConductivitySensor>
# </sensor>
# <sensor Channel="3" >
# <!-- Frequency 2, Pressure, Digiquartz with TC -->
# <PressureSensor SensorID="45" >
# <SerialNumber>09P75372-1160</SerialNumber>
# <CalibrationDate>2013-07-21</CalibrationDate>
# <C1>-4.211844e+004</C1>
# <C2>-4.177706e-001</C2>
# <C3>1.227500e-002</C3>
# <D1>3.461900e-002</D1>
# <D2>0.000000e+000</D2>
# <T1>3.000530e+001</T1>
# <T2>-4.071315e-004</T2>
# <T3>3.795600e-006</T3>
# <T4>3.355640e-009</T4>
# <Slope>1.00000000</Slope>
# <Offset>0.00000</Offset>
# <T5>0.000000e+000</T5>
# <AD590M>1.278400e-002</AD590M>
# <AD590B>-9.459390e+000</AD590B>
# </PressureSensor>
# </sensor>
# <sensor Channel="4" >
# <!-- Frequency 3, Temperature, 2 -->
# <TemperatureSensor SensorID="55" >
# <SerialNumber>1602</SerialNumber>
# <CalibrationDate>27-Oct-16</CalibrationDate>
# <UseG_J>1</UseG_J>
# <A>0.00000000e+000</A>
# <B>0.00000000e+000</B>
# <C>0.00000000e+000</C>
# <D>0.00000000e+000</D>
# <F0_Old>0.000</F0_Old>
# <G>4.88861236e-003</G>
# <H>6.83086718e-004</H>
# <I>2.85232996e-005</I>
# <J>2.36111404e-006</J>
# <F0>1000.000</F0>
# <Slope>1.00000000</Slope>
# <Offset>0.0000</Offset>
# </TemperatureSensor>
# </sensor>
# <sensor Channel="5" >
# <!-- Frequency 4, Conductivity, 2 -->
# <ConductivitySensor SensorID="3" >
# <SerialNumber>3123</SerialNumber>
# <CalibrationDate>27-apr-17</CalibrationDate>
# <UseG_J>1</UseG_J>
# <!-- Cell const and series R are applicable only for wide range sensors. -->
# <SeriesR>0.0000</SeriesR>
# <CellConst>2000.0000</CellConst>
# <ConductivityType>0</ConductivityType>
# <Coefficients equation="0" >
# <A>0.00000000e+000</A>
# <B>0.00000000e+000</B>
# <C>0.00000000e+000</C>
# <D>0.00000000e+000</D>
# <M>0.0</M>
# <CPcor>-9.57000000e-008</CPcor>
# </Coefficients>
# <Coefficients equation="1" >
# <G>-1.04041238e+001</G>
# <H>1.28819698e+000</H>
# <I>3.34030275e-004</I>
# <J>2.70913781e-005</J>
# <CPcor>-9.57000000e-008</CPcor>
# <CTcor>3.2500e-006</CTcor>
# <!-- WBOTC not applicable unless ConductivityType = 1. -->
# <WBOTC>0.00000000e+000</WBOTC>
# </Coefficients>
# <Slope>1.00000000</Slope>
# <Offset>0.00000</Offset>
# </ConductivitySensor>
# </sensor>
# <sensor Channel="6" >
# <!-- A/D voltage 0, Altimeter -->
# <AltimeterSensor SensorID="0" >
# <SerialNumber>1186</SerialNumber>
# <CalibrationDate>Aug.2005</CalibrationDate>
# <ScaleFactor>15.000</ScaleFactor>
# <Offset>0.000</Offset>
# </AltimeterSensor>
# </sensor>
# <sensor Channel="7" >
# <!-- A/D voltage 1, Oxygen, SBE 43 -->
# <OxygenSensor SensorID="38" >
# <SerialNumber>2525</SerialNumber>
# <CalibrationDate>08-Apr-17</CalibrationDate>
# <Use2007Equation>1</Use2007Equation>
# <CalibrationCoefficients equation="0" >
# <!-- Coefficients for Owens-Millard equation. -->
# <Boc>0.0000</Boc>
# <Soc>0.0000e+000</Soc>
# <offset>0.0000</offset>
# <Pcor>0.00e+000</Pcor>
# <Tcor>0.0000</Tcor>
# <Tau>0.0</Tau>
# </CalibrationCoefficients>
# <CalibrationCoefficients equation="1" >
# <!-- Coefficients for Sea-Bird equation - SBE calibration in 2007 and later. -->
# <Soc>5.4480e-001</Soc>
# <offset>-0.4962</offset>
# <A>-3.7527e-003</A>
# <B> 1.8015e-004</B>
# <C>-2.6953e-006</C>
# <D0> 2.5826e+000</D0>
# <D1> 1.92634e-004</D1>
# <D2>-4.64803e-002</D2>
# <E> 3.6000e-002</E>
# <Tau20> 1.4600</Tau20>
# <H1>-3.3000e-002</H1>
# <H2> 5.0000e+003</H2>
# <H3> 1.4500e+003</H3>
# </CalibrationCoefficients>
# </OxygenSensor>
# </sensor>
# <sensor Channel="8" >
# <!-- A/D voltage 2, Fluorometer, Chelsea Aqua 3 -->
# <FluoroChelseaAqua3Sensor SensorID="5" >
# <SerialNumber>088-252</SerialNumber>
# <CalibrationDate>13.08.2013</CalibrationDate>
# <VB>0.335700</VB>
# <V1>2.123000</V1>
# <Vacetone>0.427000</Vacetone>
# <ScaleFactor>1.000000</ScaleFactor>
# <Slope>1.000000</Slope>
# <Offset>0.000000</Offset>
# </FluoroChelseaAqua3Sensor>
# </sensor>
# <sensor Channel="9" >
# <!-- A/D voltage 3, Free -->
# </sensor>
# <sensor Channel="10" >
# <!-- A/D voltage 4, Free -->
# </sensor>
# <sensor Channel="11" >
# <!-- A/D voltage 5, Free -->
# </sensor>
# <sensor Channel="12" >
# <!-- A/D voltage 6, PAR/Irradiance, Biospherical/Licor -->
# <PAR_BiosphericalLicorChelseaSensor SensorID="42" >
# <SerialNumber>1039</SerialNumber>
# <CalibrationDate>2015-11-04</CalibrationDate>
# <M>0.80294800</M>
# <B>1.04712600</B>
# <CalibrationConstant>735889322.24593425</CalibrationConstant>
# <Multiplier>1.00000000</Multiplier>
# <Offset>0.00000000</Offset>
# </PAR_BiosphericalLicorChelseaSensor>
# </sensor>
# <sensor Channel="13" >
# <!-- A/D voltage 7, Free -->
# </sensor>
# </Sensors>
# datcnv_date = Jan 22 2018 13:10:07, 7.21f
# datcnv_in = C:\Seabird\CTDData\sta0004.hex C:\Seabird\SBEDataProcessing-Win32\Seasoft.con
# datcnv_ox_hysteresis_correction = yes
# datcnv_bottle_scan_range_source = scans marked with bottle confirm bit, 0, 2
# datcnv_scans_per_bottle = 49
# bottlesum_date = Jan 22 2018 13:10:11, 7.21f
# bottlesum_in = C:\Seabird\CTDData\sta0004.ros C:\Seabird\SBEDataProcessing-Win32\Seasoft.CON C:\Seabird\CTDData\sta0004.BL
# bottlesum_ox_tau_correction = yes
Bottle | Date | Sal00 | Sbeox0ML/L | Sigma-È00 | PrDM | T068C | C0S/m | Sbeox0V | FlC
Position | Time
1 | Jan 22 2018 | 34.5725 | 3.9479 | 27.1671 | 547.912 | 6.4207 | 3.4613 | 1.4973 | 0.0139 | (avg)
| 12:55:40 |  |  |  | 0.353 | 0.0063 | 0.000588 | 0.0004 | 0.0014 | (sdev)
2 | Jan 22 2018 | 34.5725 | 3.9435 | 27.1674 | 547.629 | 6.419 | 3.4611 | 1.4975 | 0.0117 | (avg)
| 12:55:45 |  |  |  | 0.168 | 0.0002 | 3.1e-05 | 0.0004 | 0.0007 | (sdev)
3 | Jan 22 2018 | 34.8601 | 4.6391 | 26.805 | 287.864 | 10.256 | 3.8322 | 1.8304 | 0.0071 | (avg)
| 13:03:05 |  |  |  | 0.06 | 0.0021 | 0.000224 | 0.0006 | 0.0009 | (sdev)
4 | Jan 22 2018 | 35.1092 | 4.661 | 26.6267 | 202.282 | 12.2748 | 4.0464 | 1.9276 | 0.0109 | (avg)
| 13:04:47 |  |  |  | 0.583 | 0.0158 | 0.001565 | 0.0029 | 0.001 | (sdev)
5 | Jan 22 2018 | 35.2845 | 4.8597 | 26.5155 | 151.039 | 13.5046 | 4.1821 | 2.0303 | 0.0115 | (avg)
| 13:05:40 |  |  |  | 0.442 | 0.0198 | 0.001899 | 0.0009 | 0.0008 | (sdev)
6 | Jan 22 2018 | 35.3182 | 4.0273 | 26.2987 | 100.843 | 14.6464 | 4.2958 | 1.8095 | 0.0178 | (avg)
| 13:06:30 |  |  |  | 0.283 | 0.0159 | 0.001439 | 0.0017 | 0.0011 | (sdev)
7 | Jan 22 2018 | 35.4764 | 4.0176 | 25.8484 | 58.659 | 17.1457 | 4.5612 | 1.8995 | 0.0197 | (avg)
| 13:07:11 |  |  |  | 0.828 | 0.0499 | 0.005474 | 0.0087 | 0.001 | (sdev)
8 | Jan 22 2018 | 35.3669 | 3.3838 | 25.3957 | 30.247 | 18.6395 | 4.6985 | 1.6979 | 0.1522 | (avg)
| 13:08:07 |  |  |  | 0.913 | 0.0498 | 0.004799 | 0.0021 | 0.004 | (sdev)
9 | Jan 22 2018 | 35.3851 | 3.6863 | 25.1222 | 16.6 | 19.7544 | 4.8138 | 1.8327 | 0.2757 | (avg)
| 13:08:46 |  |  |  | 0.496 | 0.0014 | 0.000325 | 0.0008 | 0.0039 | (sdev)
10 | Jan 22 2018 | 35.3633 | 3.6601 | 25.0627 | 14.308 | 19.9173 | 4.8278 | 1.8259 | 0.3119 | (avg)
| 13:08:53 |  |  |  | 0.082 | 0.0461 | 0.003326 | 0.0004 | 0.0107 | (sdev)
11 | Jan 22 2018 | 35.3875 | 4.4095 | 24.6826 | 2.433 | 21.3938 | 4.9822 | 2.1456 | 1.428 | (avg)
| 13:09:30 |  |  |  | 0.2 | 0.0114 | 0.001016 | 0.0011 | 0.0773 | (sdev)
12 | Jan 22 2018 | 35.388 | 4.4277 | 24.6709 | 3.053 | 21.4375 | 4.9868 | 2.1485 | 1.3705 | (avg)
| 13:09:32 |  |  |  | 0.536 | 0.0261 | 0.002602 | 0.0015 | 0.0851 | (sdev)

## Sta5
* Sea-Bird SBE 9 Data File:
* FileName = C:\Seabird\CTDData\sta0005.hex
* Software Version Seasave V 7.21f
* Temperature SN = 4537
* Conductivity SN = 2037
* Number of Bytes Per Scan = 37
* Number of Voltage Words = 4
* Number of Scans Averaged by the Deck Unit = 1
* System UpLoad Time = Jan 22 2018 14:21:38
* NMEA Latitude = 33 38.34 S
* NMEA Longitude = 027 39.42 E
* NMEA UTC (Time) = Jan 22 2018 14:21:38
* Store Lat/Lon Data = Append to Every Scan
* SBE 11plus V 5.2
* number of scans to average = 1
* pressure baud rate = 9600
* NMEA baud rate = 4800
* GPIB address = 1
* advance primary conductivity 0.073 seconds
* advance secondary conductivity 0.073 seconds
* autorun on power up is disabled
* S>
** Ship: 14 R/V "Dr. Fridtjof Nansen"
** Station: 0005
** Echodepth: 1167
** Log: 2063.28
** Wind-Dir Force: 02 11
** Air-temp (dry): 21
** Weather Sky: 2 8
** Sea: 4
* System UTC = Jan 22 2018 14:21:38
# interval = seconds: 0.0416667
# start_time = Jan 22 2018 14:21:38 [System UTC, header]
# <Sensors count="13" >
# <sensor Channel="1" >
# <!-- Frequency 0, Temperature -->
# <TemperatureSensor SensorID="55" >
# <SerialNumber>4537</SerialNumber>
# <CalibrationDate>28-Oct-16</CalibrationDate>
# <UseG_J>1</UseG_J>
# <A>0.00000000e+000</A>
# <B>0.00000000e+000</B>
# <C>0.00000000e+000</C>
# <D>0.00000000e+000</D>
# <F0_Old>0.000</F0_Old>
# <G>4.40508655e-003</G>
# <H>6.38847300e-004</H>
# <I>2.16832460e-005</I>
# <J>1.91602152e-006</J>
# <F0>1000.000</F0>
# <Slope>1.00000000</Slope>
# <Offset>0.0000</Offset>
# </TemperatureSensor>
# </sensor>
# <sensor Channel="2" >
# <!-- Frequency 1, Conductivity -->
# <ConductivitySensor SensorID="3" >
# <SerialNumber>2037</SerialNumber>
# <CalibrationDate>25-Oct-16</CalibrationDate>
# <UseG_J>1</UseG_J>
# <!-- Cell const and series R are applicable only for wide range sensors. -->
# <SeriesR>0.0000</SeriesR>
# <CellConst>2000.0000</CellConst>
# <ConductivityType>0</ConductivityType>
# <Coefficients equation="0" >
# <A>0.00000000e+000</A>
# <B>0.00000000e+000</B>
# <C>0.00000000e+000</C>
# <D>0.00000000e+000</D>
# <M>0.0</M>
# <CPcor>-9.57000000e-008</CPcor>
# </Coefficients>
# <Coefficients equation="1" >
# <G>-9.76816339e+000</G>
# <H>1.36657027e+000</H>
# <I>-4.74939569e-003</I>
# <J>5.39425313e-004</J>
# <CPcor>-9.57000000e-008</CPcor>
# <CTcor>3.2500e-006</CTcor>
# <!-- WBOTC not applicable unless ConductivityType = 1. -->
# <WBOTC>0.00000000e+000</WBOTC>
# </Coefficients>
# <Slope>1.00000000</Slope>
# <Offset>0.00000</Offset>
# </ConductivitySensor>
# </sensor>
# <sensor Channel="3" >
# <!-- Frequency 2, Pressure, Digiquartz with TC -->
# <PressureSensor SensorID="45" >
# <SerialNumber>09P75372-1160</SerialNumber>
# <CalibrationDate>2013-07-21</CalibrationDate>
# <C1>-4.211844e+004</C1>
# <C2>-4.177706e-001</C2>
# <C3>1.227500e-002</C3>
# <D1>3.461900e-002</D1>
# <D2>0.000000e+000</D2>
# <T1>3.000530e+001</T1>
# <T2>-4.071315e-004</T2>
# <T3>3.795600e-006</T3>
# <T4>3.355640e-009</T4>
# <Slope>1.00000000</Slope>
# <Offset>0.00000</Offset>
# <T5>0.000000e+000</T5>
# <AD590M>1.278400e-002</AD590M>
# <AD590B>-9.459390e+000</AD590B>
# </PressureSensor>
# </sensor>
# <sensor Channel="4" >
# <!-- Frequency 3, Temperature, 2 -->
# <TemperatureSensor SensorID="55" >
# <SerialNumber>1602</SerialNumber>
# <CalibrationDate>27-Oct-16</CalibrationDate>
# <UseG_J>1</UseG_J>
# <A>0.00000000e+000</A>
# <B>0.00000000e+000</B>
# <C>0.00000000e+000</C>
# <D>0.00000000e+000</D>
# <F0_Old>0.000</F0_Old>
# <G>4.88861236e-003</G>
# <H>6.83086718e-004</H>
# <I>2.85232996e-005</I>
# <J>2.36111404e-006</J>
# <F0>1000.000</F0>
# <Slope>1.00000000</Slope>
# <Offset>0.0000</Offset>
# </TemperatureSensor>
# </sensor>
# <sensor Channel="5" >
# <!-- Frequency 4, Conductivity, 2 -->
# <ConductivitySensor SensorID="3" >
# <SerialNumber>3123</SerialNumber>
# <CalibrationDate>27-apr-17</CalibrationDate>
# <UseG_J>1</UseG_J>
# <!-- Cell const and series R are applicable only for wide range sensors. -->
# <SeriesR>0.0000</SeriesR>
# <CellConst>2000.0000</CellConst>
# <ConductivityType>0</ConductivityType>
# <Coefficients equation="0" >
# <A>0.00000000e+000</A>
# <B>0.00000000e+000</B>
# <C>0.00000000e+000</C>
# <D>0.00000000e+000</D>
# <M>0.0</M>
# <CPcor>-9.57000000e-008</CPcor>
# </Coefficients>
# <Coefficients equation="1" >
# <G>-1.04041238e+001</G>
# <H>1.28819698e+000</H>
# <I>3.34030275e-004</I>
# <J>2.70913781e-005</J>
# <CPcor>-9.57000000e-008</CPcor>
# <CTcor>3.2500e-006</CTcor>
# <!-- WBOTC not applicable unless ConductivityType = 1. -->
# <WBOTC>0.00000000e+000</WBOTC>
# </Coefficients>
# <Slope>1.00000000</Slope>
# <Offset>0.00000</Offset>
# </ConductivitySensor>
# </sensor>
# <sensor Channel="6" >
# <!-- A/D voltage 0, Altimeter -->
# <AltimeterSensor SensorID="0" >
# <SerialNumber>1186</SerialNumber>
# <CalibrationDate>Aug.2005</CalibrationDate>
# <ScaleFactor>15.000</ScaleFactor>
# <Offset>0.000</Offset>
# </AltimeterSensor>
# </sensor>
# <sensor Channel="7" >
# <!-- A/D voltage 1, Oxygen, SBE 43 -->
# <OxygenSensor SensorID="38" >
# <SerialNumber>2525</SerialNumber>
# <CalibrationDate>08-Apr-17</CalibrationDate>
# <Use2007Equation>1</Use2007Equation>
# <CalibrationCoefficients equation="0" >
# <!-- Coefficients for Owens-Millard equation. -->
# <Boc>0.0000</Boc>
# <Soc>0.0000e+000</Soc>
# <offset>0.0000</offset>
# <Pcor>0.00e+000</Pcor>
# <Tcor>0.0000</Tcor>
# <Tau>0.0</Tau>
# </CalibrationCoefficients>
# <CalibrationCoefficients equation="1" >
# <!-- Coefficients for Sea-Bird equation - SBE calibration in 2007 and later. -->
# <Soc>5.4480e-001</Soc>
# <offset>-0.4962</offset>
# <A>-3.7527e-003</A>
# <B> 1.8015e-004</B>
# <C>-2.6953e-006</C>
# <D0> 2.5826e+000</D0>
# <D1> 1.92634e-004</D1>
# <D2>-4.64803e-002</D2>
# <E> 3.6000e-002</E>
# <Tau20> 1.4600</Tau20>
# <H1>-3.3000e-002</H1>
# <H2> 5.0000e+003</H2>
# <H3> 1.4500e+003</H3>
# </CalibrationCoefficients>
# </OxygenSensor>
# </sensor>
# <sensor Channel="8" >
# <!-- A/D voltage 2, Fluorometer, Chelsea Aqua 3 -->
# <FluoroChelseaAqua3Sensor SensorID="5" >
# <SerialNumber>088-252</SerialNumber>
# <CalibrationDate>13.08.2013</CalibrationDate>
# <VB>0.335700</VB>
# <V1>2.123000</V1>
# <Vacetone>0.427000</Vacetone>
# <ScaleFactor>1.000000</ScaleFactor>
# <Slope>1.000000</Slope>
# <Offset>0.000000</Offset>
# </FluoroChelseaAqua3Sensor>
# </sensor>
# <sensor Channel="9" >
# <!-- A/D voltage 3, Free -->
# </sensor>
# <sensor Channel="10" >
# <!-- A/D voltage 4, Free -->
# </sensor>
# <sensor Channel="11" >
# <!-- A/D voltage 5, Free -->
# </sensor>
# <sensor Channel="12" >
# <!-- A/D voltage 6, PAR/Irradiance, Biospherical/Licor -->
# <PAR_BiosphericalLicorChelseaSensor SensorID="42" >
# <SerialNumber>1039</SerialNumber>
# <CalibrationDate>2015-11-04</CalibrationDate>
# <M>0.80294800</M>
# <B>1.04712600</B>
# <CalibrationConstant>735889322.24593425</CalibrationConstant>
# <Multiplier>1.00000000</Multiplier>
# <Offset>0.00000000</Offset>
# </PAR_BiosphericalLicorChelseaSensor>
# </sensor>
# <sensor Channel="13" >
# <!-- A/D voltage 7, Free -->
# </sensor>
# </Sensors>
# datcnv_date = Jan 22 2018 15:12:25, 7.21f
# datcnv_in = C:\Seabird\CTDData\sta0005.hex C:\Seabird\SBEDataProcessing-Win32\Seasoft.con
# datcnv_ox_hysteresis_correction = yes
# datcnv_bottle_scan_range_source = scans marked with bottle confirm bit, 0, 2
# datcnv_scans_per_bottle = 49
# bottlesum_date = Jan 22 2018 15:12:32, 7.21f
# bottlesum_in = C:\Seabird\CTDData\sta0005.ros C:\Seabird\SBEDataProcessing-Win32\Seasoft.CON C:\Seabird\CTDData\sta0005.BL
# bottlesum_ox_tau_correction = yes
Bottle | Date | Sal00 | Sbeox0ML/L | Sigma-È00 | PrDM | T068C | C0S/m | Sbeox0V | FlC
Position | Time
1 | Jan 22 2018 | 34.5465 | 3.6589 | 27.3585 | 1000.215 | 4.7049 | 3.3242 | 1.3319 | 0.0175 | (avg)
| 14:49:24 |  |  |  | 0.566 | 0.0016 | 0.000113 | 0.0005 | 0.0007 | (sdev)
2 | Jan 22 2018 | 34.5336 | 3.9105 | 27.2088 | 750.687 | 5.8717 | 3.417 | 1.4491 | 0.0127 | (avg)
| 14:55:01 |  |  |  | 0.355 | 0.0018 | 0.000139 | 0 | 0.0009 | (sdev)
3 | Jan 22 2018 | 34.7076 | 4.0914 | 26.9561 | 500.176 | 8.6324 | 3.6747 | 1.6137 | 0.0091 | (avg)
| 15:01:06 |  |  |  | 0.397 | 0.0271 | 0.003125 | 0.0031 | 0.0011 | (sdev)
4 | Jan 22 2018 | 35.0139 | 4.6945 | 26.6954 | 299.736 | 11.536 | 3.9699 | 1.8852 | 0.0086 | (avg)
| 15:05:09 |  |  |  | 0.535 | 0.0432 | 0.004529 | 0.0006 | 0.0011 | (sdev)
5 | Jan 22 2018 | 35.2788 | 4.4675 | 26.4703 | 199.614 | 13.7088 | 4.2036 | 1.9082 | 0.0127 | (avg)
| 15:06:57 |  |  |  | 0.568 | 0.0204 | 0.002199 | 0.0019 | 0.0013 | (sdev)
6 | Jan 22 2018 | 35.4542 | 4.5969 | 26.2351 | 147.936 | 15.4185 | 4.3894 | 2.0085 | 0.0133 | (avg)
| 15:07:52 |  |  |  | 0.545 | 0.007 | 0.000746 | 0.0012 | 0.0011 | (sdev)
7 | Jan 22 2018 | 35.5884 | 5.0683 | 25.9867 | 99.848 | 16.9337 | 4.5545 | 2.2204 | 0.0104 | (avg)
| 15:08:39 |  |  |  | 0.556 | 0.012 | 0.000969 | 0.0008 | 0.0007 | (sdev)
8 | Jan 22 2018 | 35.5285 | 4.0782 | 25.7331 | 59.933 | 17.7865 | 4.6322 | 1.8737 | 0.0271 | (avg)
| 15:09:19 |  |  |  | 0.481 | 0.0728 | 0.007837 | 0.0154 | 0.0008 | (sdev)
9 | Jan 22 2018 | 35.4473 | 4.6279 | 24.729 | 13.473 | 21.3925 | 4.99 | 2.2208 | 0.4046 | (avg)
| 15:11:01 |  |  |  | 0.15 | 0.0577 | 0.004954 | 0.0016 | 0.1019 | (sdev)
10 | Jan 22 2018 | 35.4188 | 4.6233 | 24.6301 | 12.22 | 21.6709 | 5.0152 | 2.2287 | 0.4667 | (avg)
| 15:11:13 |  |  |  | 0.548 | 0.0715 | 0.006167 | 0.001 | 0.0694 | (sdev)
11 | Jan 22 2018 | 35.3898 | 4.5134 | 24.5614 | 5.194 | 21.8373 | 5.0285 | 2.1936 | 0.8101 | (avg)
| 15:11:40 |  |  |  | 0.377 | 0.0055 | 0.000275 | 0.0007 | 0.0464 | (sdev)
12 | Jan 22 2018 | 35.3764 | 4.4976 | 24.548 | 2.918 | 21.848 | 5.0278 | 2.191 | 0.7715 | (avg)
| 15:11:43 |  |  |  | 0.484 | 0.0017 | 9e-05 | 0.0012 | 0.0243 | (sdev)

## Sta6
* Sea-Bird SBE 9 Data File:
* FileName = C:\Seabird\CTDData\sta0006.hex
* Software Version Seasave V 7.21f
* Temperature SN = 4537
* Conductivity SN = 2037
* Number of Bytes Per Scan = 37
* Number of Voltage Words = 4
* Number of Scans Averaged by the Deck Unit = 1
* System UpLoad Time = Jan 22 2018 16:18:02
* NMEA Latitude = 33 42.34 S
* NMEA Longitude = 027 41.26 E
* NMEA UTC (Time) = Jan 22 2018 16:18:02
* Store Lat/Lon Data = Append to Every Scan
* SBE 11plus V 5.2
* number of scans to average = 1
* pressure baud rate = 9600
* NMEA baud rate = 4800
* GPIB address = 1
* advance primary conductivity 0.073 seconds
* advance secondary conductivity 0.073 seconds
* autorun on power up is disabled
* S>
** Ship: 14 R/V "Dr. Fridtjof Nansen"
** Station: 0006
** Echodepth: 1798
** Log: 2072.071
** Wind-Dir Force: 02 13
** Air-temp (dry): 21
** Weather Sky: 2 8
** Sea: 4
* System UTC = Jan 22 2018 16:18:02
# interval = seconds: 0.0416667
# start_time = Jan 22 2018 16:18:02 [System UTC, header]
# <Sensors count="13" >
# <sensor Channel="1" >
# <!-- Frequency 0, Temperature -->
# <TemperatureSensor SensorID="55" >
# <SerialNumber>4537</SerialNumber>
# <CalibrationDate>28-Oct-16</CalibrationDate>
# <UseG_J>1</UseG_J>
# <A>0.00000000e+000</A>
# <B>0.00000000e+000</B>
# <C>0.00000000e+000</C>
# <D>0.00000000e+000</D>
# <F0_Old>0.000</F0_Old>
# <G>4.40508655e-003</G>
# <H>6.38847300e-004</H>
# <I>2.16832460e-005</I>
# <J>1.91602152e-006</J>
# <F0>1000.000</F0>
# <Slope>1.00000000</Slope>
# <Offset>0.0000</Offset>
# </TemperatureSensor>
# </sensor>
# <sensor Channel="2" >
# <!-- Frequency 1, Conductivity -->
# <ConductivitySensor SensorID="3" >
# <SerialNumber>2037</SerialNumber>
# <CalibrationDate>25-Oct-16</CalibrationDate>
# <UseG_J>1</UseG_J>
# <!-- Cell const and series R are applicable only for wide range sensors. -->
# <SeriesR>0.0000</SeriesR>
# <CellConst>2000.0000</CellConst>
# <ConductivityType>0</ConductivityType>
# <Coefficients equation="0" >
# <A>0.00000000e+000</A>
# <B>0.00000000e+000</B>
# <C>0.00000000e+000</C>
# <D>0.00000000e+000</D>
# <M>0.0</M>
# <CPcor>-9.57000000e-008</CPcor>
# </Coefficients>
# <Coefficients equation="1" >
# <G>-9.76816339e+000</G>
# <H>1.36657027e+000</H>
# <I>-4.74939569e-003</I>
# <J>5.39425313e-004</J>
# <CPcor>-9.57000000e-008</CPcor>
# <CTcor>3.2500e-006</CTcor>
# <!-- WBOTC not applicable unless ConductivityType = 1. -->
# <WBOTC>0.00000000e+000</WBOTC>
# </Coefficients>
# <Slope>1.00000000</Slope>
# <Offset>0.00000</Offset>
# </ConductivitySensor>
# </sensor>
# <sensor Channel="3" >
# <!-- Frequency 2, Pressure, Digiquartz with TC -->
# <PressureSensor SensorID="45" >
# <SerialNumber>09P75372-1160</SerialNumber>
# <CalibrationDate>2013-07-21</CalibrationDate>
# <C1>-4.211844e+004</C1>
# <C2>-4.177706e-001</C2>
# <C3>1.227500e-002</C3>
# <D1>3.461900e-002</D1>
# <D2>0.000000e+000</D2>
# <T1>3.000530e+001</T1>
# <T2>-4.071315e-004</T2>
# <T3>3.795600e-006</T3>
# <T4>3.355640e-009</T4>
# <Slope>1.00000000</Slope>
# <Offset>0.00000</Offset>
# <T5>0.000000e+000</T5>
# <AD590M>1.278400e-002</AD590M>
# <AD590B>-9.459390e+000</AD590B>
# </PressureSensor>
# </sensor>
# <sensor Channel="4" >
# <!-- Frequency 3, Temperature, 2 -->
# <TemperatureSensor SensorID="55" >
# <SerialNumber>1602</SerialNumber>
# <CalibrationDate>27-Oct-16</CalibrationDate>
# <UseG_J>1</UseG_J>
# <A>0.00000000e+000</A>
# <B>0.00000000e+000</B>
# <C>0.00000000e+000</C>
# <D>0.00000000e+000</D>
# <F0_Old>0.000</F0_Old>
# <G>4.88861236e-003</G>
# <H>6.83086718e-004</H>
# <I>2.85232996e-005</I>
# <J>2.36111404e-006</J>
# <F0>1000.000</F0>
# <Slope>1.00000000</Slope>
# <Offset>0.0000</Offset>
# </TemperatureSensor>
# </sensor>
# <sensor Channel="5" >
# <!-- Frequency 4, Conductivity, 2 -->
# <ConductivitySensor SensorID="3" >
# <SerialNumber>3123</SerialNumber>
# <CalibrationDate>27-apr-17</CalibrationDate>
# <UseG_J>1</UseG_J>
# <!-- Cell const and series R are applicable only for wide range sensors. -->
# <SeriesR>0.0000</SeriesR>
# <CellConst>2000.0000</CellConst>
# <ConductivityType>0</ConductivityType>
# <Coefficients equation="0" >
# <A>0.00000000e+000</A>
# <B>0.00000000e+000</B>
# <C>0.00000000e+000</C>
# <D>0.00000000e+000</D>
# <M>0.0</M>
# <CPcor>-9.57000000e-008</CPcor>
# </Coefficients>
# <Coefficients equation="1" >
# <G>-1.04041238e+001</G>
# <H>1.28819698e+000</H>
# <I>3.34030275e-004</I>
# <J>2.70913781e-005</J>
# <CPcor>-9.57000000e-008</CPcor>
# <CTcor>3.2500e-006</CTcor>
# <!-- WBOTC not applicable unless ConductivityType = 1. -->
# <WBOTC>0.00000000e+000</WBOTC>
# </Coefficients>
# <Slope>1.00000000</Slope>
# <Offset>0.00000</Offset>
# </ConductivitySensor>
# </sensor>
# <sensor Channel="6" >
# <!-- A/D voltage 0, Altimeter -->
# <AltimeterSensor SensorID="0" >
# <SerialNumber>1186</SerialNumber>
# <CalibrationDate>Aug.2005</CalibrationDate>
# <ScaleFactor>15.000</ScaleFactor>
# <Offset>0.000</Offset>
# </AltimeterSensor>
# </sensor>
# <sensor Channel="7" >
# <!-- A/D voltage 1, Oxygen, SBE 43 -->
# <OxygenSensor SensorID="38" >
# <SerialNumber>2525</SerialNumber>
# <CalibrationDate>08-Apr-17</CalibrationDate>
# <Use2007Equation>1</Use2007Equation>
# <CalibrationCoefficients equation="0" >
# <!-- Coefficients for Owens-Millard equation. -->
# <Boc>0.0000</Boc>
# <Soc>0.0000e+000</Soc>
# <offset>0.0000</offset>
# <Pcor>0.00e+000</Pcor>
# <Tcor>0.0000</Tcor>
# <Tau>0.0</Tau>
# </CalibrationCoefficients>
# <CalibrationCoefficients equation="1" >
# <!-- Coefficients for Sea-Bird equation - SBE calibration in 2007 and later. -->
# <Soc>5.4480e-001</Soc>
# <offset>-0.4962</offset>
# <A>-3.7527e-003</A>
# <B> 1.8015e-004</B>
# <C>-2.6953e-006</C>
# <D0> 2.5826e+000</D0>
# <D1> 1.92634e-004</D1>
# <D2>-4.64803e-002</D2>
# <E> 3.6000e-002</E>
# <Tau20> 1.4600</Tau20>
# <H1>-3.3000e-002</H1>
# <H2> 5.0000e+003</H2>
# <H3> 1.4500e+003</H3>
# </CalibrationCoefficients>
# </OxygenSensor>
# </sensor>
# <sensor Channel="8" >
# <!-- A/D voltage 2, Fluorometer, Chelsea Aqua 3 -->
# <FluoroChelseaAqua3Sensor SensorID="5" >
# <SerialNumber>088-252</SerialNumber>
# <CalibrationDate>13.08.2013</CalibrationDate>
# <VB>0.335700</VB>
# <V1>2.123000</V1>
# <Vacetone>0.427000</Vacetone>
# <ScaleFactor>1.000000</ScaleFactor>
# <Slope>1.000000</Slope>
# <Offset>0.000000</Offset>
# </FluoroChelseaAqua3Sensor>
# </sensor>
# <sensor Channel="9" >
# <!-- A/D voltage 3, Free -->
# </sensor>
# <sensor Channel="10" >
# <!-- A/D voltage 4, Free -->
# </sensor>
# <sensor Channel="11" >
# <!-- A/D voltage 5, Free -->
# </sensor>
# <sensor Channel="12" >
# <!-- A/D voltage 6, PAR/Irradiance, Biospherical/Licor -->
# <PAR_BiosphericalLicorChelseaSensor SensorID="42" >
# <SerialNumber>1039</SerialNumber>
# <CalibrationDate>2015-11-04</CalibrationDate>
# <M>0.80294800</M>
# <B>1.04712600</B>
# <CalibrationConstant>735889322.24593425</CalibrationConstant>
# <Multiplier>1.00000000</Multiplier>
# <Offset>0.00000000</Offset>
# </PAR_BiosphericalLicorChelseaSensor>
# </sensor>
# <sensor Channel="13" >
# <!-- A/D voltage 7, Free -->
# </sensor>
# </Sensors>
# datcnv_date = Jan 22 2018 17:32:54, 7.21f
# datcnv_in = C:\Seabird\CTDData\sta0006.hex C:\Seabird\SBEDataProcessing-Win32\Seasoft.con
# datcnv_ox_hysteresis_correction = yes
# datcnv_bottle_scan_range_source = scans marked with bottle confirm bit, 0, 2
# datcnv_scans_per_bottle = 49
# bottlesum_date = Jan 22 2018 17:33:04, 7.21f
# bottlesum_in = C:\Seabird\CTDData\sta0006.ros C:\Seabird\SBEDataProcessing-Win32\Seasoft.CON C:\Seabird\CTDData\sta0006.BL
# bottlesum_ox_tau_correction = yes
Bottle | Date | Sal00 | Sbeox0ML/L | Sigma-È00 | PrDM | T068C | C0S/m | Sbeox0V | FlC
Position | Time
1 | Jan 22 2018 | 34.5232 | 3.6774 | 27.3832 | 1000.152 | 4.3047 | 3.2866 | 1.3287 | 0.0112 | (avg)
| 17:10:52 |  |  |  | 0.458 | 0.0006 | 3.9e-05 | 0.0004 | 0.0009 | (sdev)
2 | Jan 22 2018 | 34.5753 | 3.9855 | 27.1499 | 750.239 | 6.5875 | 3.4855 | 1.4801 | 0.0107 | (avg)
| 17:16:39 |  |  |  | 0.454 | 0.0009 | 8.1e-05 | 0.0012 | 0.0015 | (sdev)
3 | Jan 22 2018 | 34.8006 | 4.5222 | 26.8455 | 499.566 | 9.7693 | 3.7898 | 1.7492 | 0.0082 | (avg)
| 17:22:17 |  |  |  | 0.484 | 0.0149 | 0.001549 | 0.0007 | 0.001 | (sdev)
4 | Jan 22 2018 | 35.1578 | 4.4949 | 26.5778 | 299.427 | 12.7302 | 4.0998 | 1.8633 | 0.0114 | (avg)
| 17:25:54 |  |  |  | 0.564 | 0.0002 | 4.2e-05 | 0.0002 | 0.0003 | (sdev)
5 | Jan 22 2018 | 35.4133 | 4.6408 | 26.3395 | 199.655 | 14.8115 | 4.3269 | 1.9881 | 0.0116 | (avg)
| 17:27:39 |  |  |  | 0.53 | 0.0143 | 0.001485 | 0.0011 | 0.0008 | (sdev)
6 | Jan 22 2018 | 35.516 | 4.613 | 26.0973 | 149.502 | 16.2333 | 4.4779 | 2.0317 | 0.0118 | (avg)
| 17:28:30 |  |  |  | 0.597 | 0.0187 | 0.00201 | 0.0013 | 0.0011 | (sdev)
7 | Jan 22 2018 | 35.5762 | 4.7123 | 25.8858 | 99.252 | 17.3156 | 4.5917 | 2.1199 | 0.0178 | (avg)
| 17:29:21 |  |  |  | 0.638 | 0.0209 | 0.002087 | 0.0028 | 0.0012 | (sdev)
8 | Jan 22 2018 | 35.5159 | 4.182 | 25.5713 | 58.901 | 18.4 | 4.693 | 2.0228 | 0.081 | (avg)
| 17:30:02 |  |  |  | 0.579 | 0.0429 | 0.003157 | 0.021 | 0.0046 | (sdev)
9 | Jan 22 2018 | 35.4446 | 4.7343 | 24.3424 | 36.558 | 22.7643 | 5.1333 | 2.3023 | 0.3965 | (avg)
| 17:31:15 |  |  |  | 0.348 | 0.0292 | 0.003021 | 0.0018 | 0.0082 | (sdev)
10 | Jan 22 2018 | 35.4456 | 4.7437 | 24.332 | 36.167 | 22.8031 | 5.1374 | 2.3061 | 0.3837 | (avg)
| 17:31:19 |  |  |  | 0.242 | 0.0153 | 0.001533 | 0.0008 | 0.0158 | (sdev)
11 | Jan 22 2018 | 35.4357 | 4.7499 | 24.3084 | 2.475 | 22.8523 | 5.1398 | 2.3174 | 0.4217 | (avg)
| 17:32:09 |  |  |  | 0.126 | 0.0007 | 9.2e-05 | 0.0005 | 0.0094 | (sdev)
12 | Jan 22 2018 | 35.4346 | 4.7623 | 24.3063 | 3.899 | 22.8571 | 5.1402 | 2.3195 | 0.4214 | (avg)
| 17:32:11 |  |  |  | 0.343 | 0.0014 | 0.000666 | 0.0012 | 0.0104 | (sdev)

## Sta7
* Sea-Bird SBE 9 Data File:
* FileName = C:\Seabird\CTDData\sta0007.hex
* Software Version Seasave V 7.21f
* Temperature SN = 4537
* Conductivity SN = 2037
* Number of Bytes Per Scan = 37
* Number of Voltage Words = 4
* Number of Scans Averaged by the Deck Unit = 1
* System UpLoad Time = Jan 22 2018 18:47:23
* NMEA Latitude = 33 47.16 S
* NMEA Longitude = 027 42.82 E
* NMEA UTC (Time) = Jan 22 2018 18:47:22
* Store Lat/Lon Data = Append to Every Scan
* SBE 11plus V 5.2
* number of scans to average = 1
* pressure baud rate = 9600
* NMEA baud rate = 4800
* GPIB address = 1
* advance primary conductivity 0.073 seconds
* advance secondary conductivity 0.073 seconds
* autorun on power up is disabled
* S>
** Ship: 14 R/V "Dr. Fridtjof Nansen"
** Station: 0007
** Echodepth: 2215
** Log: 2082.136
** Wind-Dir Force: 05 21
** Air-temp (dry): 22
** Weather Sky: 7 8
** Sea: 5
* System UTC = Jan 22 2018 18:47:23
# interval = seconds: 0.0416667
# start_time = Jan 22 2018 18:47:23 [System UTC, header]
# <Sensors count="13" >
# <sensor Channel="1" >
# <!-- Frequency 0, Temperature -->
# <TemperatureSensor SensorID="55" >
# <SerialNumber>4537</SerialNumber>
# <CalibrationDate>28-Oct-16</CalibrationDate>
# <UseG_J>1</UseG_J>
# <A>0.00000000e+000</A>
# <B>0.00000000e+000</B>
# <C>0.00000000e+000</C>
# <D>0.00000000e+000</D>
# <F0_Old>0.000</F0_Old>
# <G>4.40508655e-003</G>
# <H>6.38847300e-004</H>
# <I>2.16832460e-005</I>
# <J>1.91602152e-006</J>
# <F0>1000.000</F0>
# <Slope>1.00000000</Slope>
# <Offset>0.0000</Offset>
# </TemperatureSensor>
# </sensor>
# <sensor Channel="2" >
# <!-- Frequency 1, Conductivity -->
# <ConductivitySensor SensorID="3" >
# <SerialNumber>2037</SerialNumber>
# <CalibrationDate>25-Oct-16</CalibrationDate>
# <UseG_J>1</UseG_J>
# <!-- Cell const and series R are applicable only for wide range sensors. -->
# <SeriesR>0.0000</SeriesR>
# <CellConst>2000.0000</CellConst>
# <ConductivityType>0</ConductivityType>
# <Coefficients equation="0" >
# <A>0.00000000e+000</A>
# <B>0.00000000e+000</B>
# <C>0.00000000e+000</C>
# <D>0.00000000e+000</D>
# <M>0.0</M>
# <CPcor>-9.57000000e-008</CPcor>
# </Coefficients>
# <Coefficients equation="1" >
# <G>-9.76816339e+000</G>
# <H>1.36657027e+000</H>
# <I>-4.74939569e-003</I>
# <J>5.39425313e-004</J>
# <CPcor>-9.57000000e-008</CPcor>
# <CTcor>3.2500e-006</CTcor>
# <!-- WBOTC not applicable unless ConductivityType = 1. -->
# <WBOTC>0.00000000e+000</WBOTC>
# </Coefficients>
# <Slope>1.00000000</Slope>
# <Offset>0.00000</Offset>
# </ConductivitySensor>
# </sensor>
# <sensor Channel="3" >
# <!-- Frequency 2, Pressure, Digiquartz with TC -->
# <PressureSensor SensorID="45" >
# <SerialNumber>09P75372-1160</SerialNumber>
# <CalibrationDate>2013-07-21</CalibrationDate>
# <C1>-4.211844e+004</C1>
# <C2>-4.177706e-001</C2>
# <C3>1.227500e-002</C3>
# <D1>3.461900e-002</D1>
# <D2>0.000000e+000</D2>
# <T1>3.000530e+001</T1>
# <T2>-4.071315e-004</T2>
# <T3>3.795600e-006</T3>
# <T4>3.355640e-009</T4>
# <Slope>1.00000000</Slope>
# <Offset>0.00000</Offset>
# <T5>0.000000e+000</T5>
# <AD590M>1.278400e-002</AD590M>
# <AD590B>-9.459390e+000</AD590B>
# </PressureSensor>
# </sensor>
# <sensor Channel="4" >
# <!-- Frequency 3, Temperature, 2 -->
# <TemperatureSensor SensorID="55" >
# <SerialNumber>1602</SerialNumber>
# <CalibrationDate>27-Oct-16</CalibrationDate>
# <UseG_J>1</UseG_J>
# <A>0.00000000e+000</A>
# <B>0.00000000e+000</B>
# <C>0.00000000e+000</C>
# <D>0.00000000e+000</D>
# <F0_Old>0.000</F0_Old>
# <G>4.88861236e-003</G>
# <H>6.83086718e-004</H>
# <I>2.85232996e-005</I>
# <J>2.36111404e-006</J>
# <F0>1000.000</F0>
# <Slope>1.00000000</Slope>
# <Offset>0.0000</Offset>
# </TemperatureSensor>
# </sensor>
# <sensor Channel="5" >
# <!-- Frequency 4, Conductivity, 2 -->
# <ConductivitySensor SensorID="3" >
# <SerialNumber>3123</SerialNumber>
# <CalibrationDate>27-apr-17</CalibrationDate>
# <UseG_J>1</UseG_J>
# <!-- Cell const and series R are applicable only for wide range sensors. -->
# <SeriesR>0.0000</SeriesR>
# <CellConst>2000.0000</CellConst>
# <ConductivityType>0</ConductivityType>
# <Coefficients equation="0" >
# <A>0.00000000e+000</A>
# <B>0.00000000e+000</B>
# <C>0.00000000e+000</C>
# <D>0.00000000e+000</D>
# <M>0.0</M>
# <CPcor>-9.57000000e-008</CPcor>
# </Coefficients>
# <Coefficients equation="1" >
# <G>-1.04041238e+001</G>
# <H>1.28819698e+000</H>
# <I>3.34030275e-004</I>
# <J>2.70913781e-005</J>
# <CPcor>-9.57000000e-008</CPcor>
# <CTcor>3.2500e-006</CTcor>
# <!-- WBOTC not applicable unless ConductivityType = 1. -->
# <WBOTC>0.00000000e+000</WBOTC>
# </Coefficients>
# <Slope>1.00000000</Slope>
# <Offset>0.00000</Offset>
# </ConductivitySensor>
# </sensor>
# <sensor Channel="6" >
# <!-- A/D voltage 0, Altimeter -->
# <AltimeterSensor SensorID="0" >
# <SerialNumber>1186</SerialNumber>
# <CalibrationDate>Aug.2005</CalibrationDate>
# <ScaleFactor>15.000</ScaleFactor>
# <Offset>0.000</Offset>
# </AltimeterSensor>
# </sensor>
# <sensor Channel="7" >
# <!-- A/D voltage 1, Oxygen, SBE 43 -->
# <OxygenSensor SensorID="38" >
# <SerialNumber>2525</SerialNumber>
# <CalibrationDate>08-Apr-17</CalibrationDate>
# <Use2007Equation>1</Use2007Equation>
# <CalibrationCoefficients equation="0" >
# <!-- Coefficients for Owens-Millard equation. -->
# <Boc>0.0000</Boc>
# <Soc>0.0000e+000</Soc>
# <offset>0.0000</offset>
# <Pcor>0.00e+000</Pcor>
# <Tcor>0.0000</Tcor>
# <Tau>0.0</Tau>
# </CalibrationCoefficients>
# <CalibrationCoefficients equation="1" >
# <!-- Coefficients for Sea-Bird equation - SBE calibration in 2007 and later. -->
# <Soc>5.4480e-001</Soc>
# <offset>-0.4962</offset>
# <A>-3.7527e-003</A>
# <B> 1.8015e-004</B>
# <C>-2.6953e-006</C>
# <D0> 2.5826e+000</D0>
# <D1> 1.92634e-004</D1>
# <D2>-4.64803e-002</D2>
# <E> 3.6000e-002</E>
# <Tau20> 1.4600</Tau20>
# <H1>-3.3000e-002</H1>
# <H2> 5.0000e+003</H2>
# <H3> 1.4500e+003</H3>
# </CalibrationCoefficients>
# </OxygenSensor>
# </sensor>
# <sensor Channel="8" >
# <!-- A/D voltage 2, Fluorometer, Chelsea Aqua 3 -->
# <FluoroChelseaAqua3Sensor SensorID="5" >
# <SerialNumber>088-252</SerialNumber>
# <CalibrationDate>13.08.2013</CalibrationDate>
# <VB>0.335700</VB>
# <V1>2.123000</V1>
# <Vacetone>0.427000</Vacetone>
# <ScaleFactor>1.000000</ScaleFactor>
# <Slope>1.000000</Slope>
# <Offset>0.000000</Offset>
# </FluoroChelseaAqua3Sensor>
# </sensor>
# <sensor Channel="9" >
# <!-- A/D voltage 3, Free -->
# </sensor>
# <sensor Channel="10" >
# <!-- A/D voltage 4, Free -->
# </sensor>
# <sensor Channel="11" >
# <!-- A/D voltage 5, Free -->
# </sensor>
# <sensor Channel="12" >
# <!-- A/D voltage 6, PAR/Irradiance, Biospherical/Licor -->
# <PAR_BiosphericalLicorChelseaSensor SensorID="42" >
# <SerialNumber>1039</SerialNumber>
# <CalibrationDate>2015-11-04</CalibrationDate>
# <M>0.80294800</M>
# <B>1.04712600</B>
# <CalibrationConstant>735889322.24593425</CalibrationConstant>
# <Multiplier>1.00000000</Multiplier>
# <Offset>0.00000000</Offset>
# </PAR_BiosphericalLicorChelseaSensor>
# </sensor>
# <sensor Channel="13" >
# <!-- A/D voltage 7, Free -->
# </sensor>
# </Sensors>
# datcnv_date = Jan 22 2018 20:12:27, 7.21f
# datcnv_in = C:\Seabird\CTDData\sta0007.hex C:\Seabird\SBEDataProcessing-Win32\Seasoft.con
# datcnv_ox_hysteresis_correction = yes
# datcnv_bottle_scan_range_source = scans marked with bottle confirm bit, 0, 2
# datcnv_scans_per_bottle = 49
# bottlesum_date = Jan 22 2018 20:12:38, 7.21f
# bottlesum_in = C:\Seabird\CTDData\sta0007.ros C:\Seabird\SBEDataProcessing-Win32\Seasoft.CON C:\Seabird\CTDData\sta0007.BL
# bottlesum_ox_tau_correction = yes
Bottle | Date | Sal00 | Sbeox0ML/L | Sigma-È00 | PrDM | T068C | C0S/m | Sbeox0V | FlC
Position | Time
1 | Jan 22 2018 | 34.5103 | 3.7479 | 27.354 | 1000.227 | 4.482 | 3.3013 | 1.3469 | 0.0127 | (avg)
| 19:51:13 |  |  |  | 0.323 | 0.0031 | 0.00025 | 0.0006 | 0.0008 | (sdev)
2 | Jan 22 2018 | 34.6145 | 3.9171 | 27.0846 | 752.666 | 7.2948 | 3.5537 | 1.4989 | 0.0123 | (avg)
| 19:56:23 |  |  |  | 0.157 | 0.0087 | 0.000789 | 0.0026 | 0.0004 | (sdev)
3 | Jan 22 2018 | 34.9303 | 4.8941 | 26.743 | 498.627 | 10.9447 | 3.9138 | 1.8851 | 0.0057 | (avg)
| 20:01:13 |  |  |  | 0.529 | 0.0073 | 0.000785 | 0.0014 | 0.0011 | (sdev)
4 | Jan 22 2018 | 35.317 | 4.8694 | 26.4942 | 297.976 | 13.7505 | 4.2162 | 2.0126 | 0.0128 | (avg)
| 20:04:43 |  |  |  | 0.977 | 0.0045 | 0.000396 | 0.0007 | 0.0011 | (sdev)
5 | Jan 22 2018 | 35.4954 | 4.6877 | 26.1574 | 197.456 | 15.9102 | 4.4453 | 2.0343 | 0.0149 | (avg)
| 20:06:27 |  |  |  | 0.856 | 0.0094 | 0.000958 | 0.0022 | 0.0018 | (sdev)
6 | Jan 22 2018 | 35.5859 | 5.0006 | 26.0003 | 148.032 | 16.8765 | 4.5505 | 2.1888 | 0.0134 | (avg)
| 20:07:17 |  |  |  | 0.378 | 0.0087 | 0.000871 | 0.0009 | 0.0018 | (sdev)
7 | Jan 22 2018 | 35.5978 | 4.9744 | 25.8998 | 98.414 | 17.3265 | 4.5952 | 2.2048 | 0.0361 | (avg)
| 20:08:10 |  |  |  | 0.672 | 0.0207 | 0.002049 | 0.0013 | 0.0032 | (sdev)
8 | Jan 22 2018 | 35.5866 | 4.8862 | 25.529 | 62.67 | 18.783 | 4.7406 | 2.2332 | 0.2851 | (avg)
| 20:09:00 |  |  |  | 0.33 | 0.0038 | 0.000358 | 0.0027 | 0.0055 | (sdev)
9 | Jan 22 2018 | 35.5874 | 4.909 | 25.5317 | 63.689 | 18.7747 | 4.7399 | 2.2316 | 0.2869 | (avg)
| 20:09:01 |  |  |  | 0.421 | 0.0052 | 0.000474 | 0.0013 | 0.0028 | (sdev)
10 | Jan 22 2018 | 35.5349 | 5.0077 | 24.8173 | 45.222 | 21.3201 | 4.9949 | 2.3543 | 0.1429 | (avg)
| 20:10:31 |  |  |  | 0.383 | 0.0128 | 0.001191 | 0.0012 | 0.001 | (sdev)
11 | Jan 22 2018 | 35.4655 | 4.8243 | 24.0637 | 3.208 | 23.7702 | 5.2398 | 2.3742 | 0.1907 | (avg)
| 20:11:44 |  |  |  | 0.429 | 0.0009 | 9.9e-05 | 0.0007 | 0.0043 | (sdev)
12 | Jan 22 2018 | 35.4653 | 4.8028 | 24.0629 | 4.647 | 23.7728 | 5.2401 | 2.3707 | 0.1895 | (avg)
| 20:11:46 |  |  |  | 0.106 | 0.0007 | 6.4e-05 | 0.0025 | 0.0036 | (sdev)